The maximum capacity of power to be evacuated at Interfacing/grid substation (Interconnection Point) is as shown below:

| Sl. No. | Interfacing/grid substation (Inter-connection point) | Injection Voltage level (AC) | Injection capacity at Substation (MW) |
| --- | --- | --- | --- |
| 1 | 33/11 kV | 33 kV | 1 to 8 |
| 2 | 132/33 kV | 33 kV | 9 to 15 |
| 3 | 132/33 kV | 132 kV | 16 to 50 |
| 4 | 220/132 kV | 132 kV | 16 to 50 |
| 5 | 220/132 kV | 220 kV | 51 to 100 |
| 6 | 400/220 kV | 220 kV | 51 to 150 |